## Slide 1: MTF GUI
Kobe Chang, Research and Development Intern
23/9/2021
Objective: Make a GUI for MTF Script

## Slide 2: MTF GUI
Requirements
Ensure that MTF_GUI V3.py, _dat_v7.py, csv_all_v9.py, SPLINE_ANALYTICS_V6.py, MTF GUI.bat and Jupyter notebook/Anaconda are downloaded
Make sure that the DAT & CSV files are placed in the same folder
A Folder called Cleaned_DAT_files will be generated in the Local machine
Launch Jupyter notebook/Anaconda and install (Package Versions : Q4 2021) :
  Tkinter (Version: 8.6)
  Pandas (Version: 1.2.4)
  PIL (Version: 8.2.0)
  colour (Version: 0.1.5)
  Plotly (Version: 5.2.1)
  Numpy (Version: 1.20.1)
  Pmw (Version: 2.0.1)
  kaleido (Version: 0.2.1)
  datetime

## Slide 3: MTF GUI
Script Overview
MTF GUI
Main window
Wafer window

## Slide 4: MTF GUI
Script Main Requirements
In the main window
Users can :
    Display the Measurement Parameters
    Save a desired configuration
    Create a config file
    load in a previously created configuration file
    Change the S1 to T9 & TFC values
    Open multiple Wafer windows
    Choose a frequency number to refer to for CSV data
In the Wafer Window
Users can :
    Change the color of the wafer map based on a Lens parameter
    Change the Upper & Lower percentiles for the colors

## Slide 5: MTF GUI
Script Main Requirements ( First time users )  changing BAT file
Find the current location anaconda was downloaded to on the local computer and copy the path
Find the activate.bat file in the anaconda  scripts folder & copy the filepath
Find the python.exe program inside anaconda and copy the path
Leave a space between the python.exe filepath , then paste currently used .py filepath into the batch file
Ensure that MTF_GUI V3.py, _dat_v7.py, csv_all_v9.py, SPLINE_ANALYTICS_V6.py files are all placed in the same directory
1
4
3
2

## Slide 6: MTF GUI
Script Main Requirements ( First time users )  downloading all necessary packages
Select the cell / box
Then make sure to press the ‘Run’ button
An asterisk ‘*’ should appear inside the : In[*] box, Meaning that it is currently running
Make sure to repeat this for all of the remaining cells
1
2
3

## Slide 7: MTF GUI
Script Main Requirements ( First time users )
After running the .Bat file, a folder called ‘Cleaned_DAT_files’ will appear in the current directory where the MTF_GUI V3.py, _dat_v7.py, csv_all_v9.py, SPLINE_ANALYTICS_V6.py files are placed
Ensure that you DO NOT EDIT/ CHANGE LOCATION of this file
1
2
A csv file with the name of the selected wafer & frequency number will appear
Ensure that you also DO NOT EDIT/ CHANGE LOCATION of this file

## Slide 8: MTF GUI
Script Main Requirements ( First time users )  continuation from slide 6
If users have clicked on the ‘Export Pass Fail Map to csv’ button on the wafer map window this file will pop up
File will be named by : selected DAT name + ‘Pass Fail Wafer Map’ + timestamp
3

## Slide 9: MTF GUI
Script Plan ( Main window )
User decisions
Functions run automatically
display_Params()
Initialize & Display Measured Parameters ( creates an empty listbox )
browseDAT()
Initializes widgets for browsing DAT File
newgui()
Runs the GUI
dat_delete_items()
Allows users to delete items from measurement parameters listbox
browseFiles()
Allows users to browse for a DAT file
storing_cleaned_dat_and_csv_files()
stores the cleaned data in a folder locally
get_all_measurement_parameters_and_values()
Gets measurement parameters & values
display_intial_info()
displays settings table , config & frequency dropdown & measurement parameters listbox
A

## Slide 10: MTF GUI
Script Plan ( Continuation from Main window )  A
A
input_table()
Creates the S1 to T9 & TFC input boxes
config_dropdown()
Creates the dropdown box for config files
display_Params()
Initialize & Display Measured Parameters ( Created Listbox with Measurement info )
get_config()
Loads in the user selected config
savedata_overwrite()
Overwrites the selected config file’s data
load_in_selected_config_file()
Loads in the Config that user selected
frequency_dropdown_boxes()
Creates dropdown boxes to select frequency
select_frequency_dropdown()
Saves the frequency selected csv file and opens a new wafer map window
toggle_heat_map()
Opens Heat Map window if 3 frequencies are chosen
get_correct_dataframes()
Getting correct DAT data
C
B
dat_delete_items()
Allows users to delete items from measurement parameters listbox
User decisions
Functions run automatically

## Slide 11: MTF GUI
Script Plan ( Continuation from Main window )  B
B
load_in_selected_config_file()
Loads in the Config that user selected
get_filename_popup()
Window popup for creating a new config file
display_Params()
Initialize & Display Measured Parameters ( Created Listbox with Measurement info )
get_all_measurement_parameters_and_values()
Gets measurement parameters & values
dat_delete_items()
Allows users to delete items from measurement parameters listbox
Check_input()
Check input for valid values for S1 To TFC
get_all_measurement_parameters_and_ values()
Gets measurement parameters & values
get_rc_parameters_and_values()
Gets the lens parameters and values
config_dropdown()
Creates the dropdown box for config files
User decisions
Functions run automatically

## Slide 12: MTF GUI
Script Plan ( Wafer Window )  C
C
new_window()
Creates a new Wafer map window
main_wafermap()
Triggers the creation of the main wafermap
get_correct_dataframes()
Getting correct DAT Data
wafer_button_sizes()
Check number of lenses & sets wafer button size
wafer_map_legend()
Makes a legend around the wafer map
wafer_map_creation()
Creates the wafer map from RC numbers
D
User decisions
Functions run automatically

## Slide 13: MTF GUI
Script Plan ( Continuation from Wafer Window )  D
get_correct_dataframes()
Getting correct DAT Data
D
getgraph()
Gets graph according to the RC number
getcol()
Gets color for wafer map by Parameter
E
finding_range()
Finds upper and lower limits of values
get_list_of_tfcs()
Returns a list of Pass or fail for each RC
mtf_limits_same_window()
Returns a list of Pass or fail for each RC
find_heat_map_vals()
Get Pass/Fail values from all previous Wafer maps
get_correct_csv_dataframes()
Getting correct CSV Data
get_correct_dataframes()
Getting correct DAT Data
get_heat_map_colors()
Displays the colors according to Pass / Fail (Red to green)
get_correct_csv_dataframes()
Getting correct CSV Data
Check_input()
Check input for valid values for S1 To TFC
User decisions
Functions run automatically

## Slide 14: MTF GUI
Script Plan (Continuation from Wafer Window )  E
E
mtf_limits_same_window()
Gets the MTF limits
display_RC_Params()
Init. widgets for the Lens parameters labelframe
get_correct_csv_dataframes()
Getting correct CSV Data
get_correct_csv_dataframes()
Getting correct CSV Data
Check_input()
Check input for valid values for S1 To TFC
get_rc_parameters_and_values()
Gets the lens parameters and values
get_correct_csv_dataframes()
Getting correct CSV Data
get_correct_dataframes()
Getting correct DAT Data
delete_items()
Allows users to delete items from Lens parameters listbox
export_to_csv()
Exports the Pass / Fail Wafer map to csv
get_correct_dataframes()
Getting correct DAT Data
mtf_limits_same_window()
Gets the MTF limits
get_list_of_tfcs()
Returns a list of Pass or fail for each RC
User decisions
Functions run automatically

## Slide 15: MTF GUI
Script Plan (Continuation from Wafer Window )  E
E
display_graph1()
Displays Graph for RC number
wafer_param_dropdown_selection_widgets
Init. widgets for Wafer Parameters labelframe
empty_graph()
Creates an empty graph if no valid csv data
loading_config_wafer_map_window()
Display lens parameters from chosen config
get_correct_dataframes()
Getting correct DAT Data
F
create_empty_graph()
Display empty graph
Mainplot1()
Make cubic spline graph
creategraph1()
Forms the MTF Graph
plot_tfc_line()
Adds TFC lines onto the MTF graph
User decisions
Functions run automatically

## Slide 16: MTF GUI
Script Plan (Continuation from Wafer Window )  F
F
wafer_map_combobox()
Init. wafer map parameters dropdown box
wafer_upper_lower_percentile()
Init. upper,lower percentile and Update map button
confirm_upper_lower_limit_button_function()
Updates wafer map (Contoured , Pass / Fail)
pass_fail_toggle_combobox()
Toggle for the Pass Fail Map
G
User decisions
Functions run automatically

## Slide 17: MTF GUI
Script Plan (Continuation from Wafer Window )  G
G
confirm_upper_lower_limit_check()
Check inputs for upper and lower limits
wafer_map_creation()
Refreshes Wafer Map with color range
get_correct_dataframes()
Getting correct DAT data
load_in_wafer_map_and_legend()
Refreshes the pass fail map
wafer_map_legend()
Makes wafer map legend
get_correct_csv_dataframes()
Getting correct CSV Data
D
get_correct_dataframes()
Getting correct DAT data
main_wafermap()
Triggers the creation of the main wafermap
wafer_param_dropdown_selection_widgets
Init. widgets for Wafer Parameters labelframe
wafer_button_sizes()
Check number of lenses & sets wafer button size
User decisions
Functions run automatically

## Slide 18: MTF GUI
Script Plan ( Main window )
User decisions
Functions run automatically
display_Params()
Initialize & Display Measured Parameters ( creates an empty listbox )
browseDAT()
Initializes widgets for browsing DAT File
newgui()
Runs the GUI
dat_delete_items()
Allows users to delete items from measurement parameters listbox
browseFiles()
Allows users to browse for a DAT file
storing_cleaned_dat_and_csv_files()
stores the cleaned data in a folder locally
get_all_measurement_parameters_and_values()
Gets measurement parameters & values
display_intial_info()
displays settings table , config & frequency dropdown & measurement parameters listbox
A

## Slide 19: MTF GUI
Code Structure & Flow
Functions name | Description | Arguments | Variables Returned | Example
newgui | Runs the browseDAT function and the display_Params function. Creates a header on the top of the main window Binds the mousewheel to the scrollbar Creates a separator on the page Intializes the infinite loop that runs the GUI | NIL | NIL | newgui()
Functions name | Description | Arguments | Variables Returned | Example
browseDAT | Initializes the widgets used to browse for the csv file (Eg: Entrybox, button, Labelframe) Places the initialized widgets | NIL | NIL | browseDAT()
display_Params | Initializes widgets like Labelframe , scrollbar and listbox widget Inserts the given measurement parameters into the box Binds the backspace button to the box event allowing users to delete parameters if needed | Parameters_list ( List of parameter names) value_list(List of values of the parameters) | NIL | display_Params()
Functions inside newgui ()

## Slide 20: MTF GUI
Code Structure & Flow ( Functions inside display_Params () )
Functions name | Description | Arguments | Variables Returned | Example
dat_delete_ items | Function binded to the backspace function in the measurement parameters listbox Allows users to delete items in the listbox Saves the deleted items in a list | event (backspace event) Listbox (the measurement parameters listbox) | NIL | dat_delete_items(event,listbox)

## Slide 21: MTF GUI
Code Structure & Flow ( Functions inside browseDAT() )
Functions name | Description | Arguments | Variables Returned | Example
browseFiles | Allows users to browse for a file Checks if users have browsed for a file , if not then issue a warning message Calls the browseDAT2 function | Dat_file_name (Name of a text variable which will be placed into the entrybox when a DAT File is selected) | NIL | browseFiles(Dat_file_name)
Functions inside browseFiles ()
Functions name | Description | Arguments | Variables Returned | Example
get_all_ measurement_ parameters_and_values | Gets the measurement parameters and values to be displayed in the listboxes | NIL | measurement_param_list measurement_value_list | get_all_measurement_ parameters_and_values()
display_intial _info | Calls input_table , display_Params , new_window and config_dropdown functions Binds a button click to an event function Initialize and place a button for the wafer map | given_measurement_parameter_list given_measurement_values_list counter ( button click counter for the browse files button to trigger the settings table & config dropdown) | NIL | display_intial_info (given_measurement_parameter_list, given_measurement_values_list,counter)

## Slide 22: MTF GUI
Code Structure & Flow ( Functions inside browseFiles () )
Functions name | Description | Arguments | Variables Returned | Example
storing_ cleaned_dat_and_csv_files | Storing the cleaned DAT data and the cleaned CSV data other than the final csv dataframe Stored the Data so that we would not need to continually call the functions from the .py file | new_final_df (The initialized DAT Class variable) filepath (The DAT filepath) | NIL | storing_cleaned_dat_and_csv_files(new_final_df,first_filename,second_filename)

## Slide 23: MTF GUI
Script Plan ( Continuation from Main window )  A
A
input_table()
Creates the S1 to T9 & TFC input boxes
config_dropdown()
Creates the dropdown box for config files
display_Params()
Initialize & Display Measured Parameters ( Created Listbox with Measurement info )
get_config()
Loads in the user selected config
savedata_overwrite()
Overwrites the selected config file’s data
load_in_selected_config_file()
Loads in the Config that user selected
frequency_dropdown_boxes()
Creates dropdown boxes to select frequency
select_frequency_dropdown()
Saves the frequency selected csv file and opens a new wafer map window
toggle_heat_map()
Opens Heat Map window if 3 frequencies are chosen
get_correct_dataframes()
Getting correct DAT data
C
B
dat_delete_items()
Allows users to delete items from measurement parameters listbox
User decisions
Functions run automatically

## Slide 24: MTF GUI
Code Structure & Flow ( Functions inside display_intial_info() )
Functions name | Description | Arguments | Variables Returned | Example
input_table | Intializes the widgets Creates the widgets (S1 to T9 & TFC, based on how many Cameras are in the label_list_input_table) | y_pos (y position of the widgets) next_y_pos | NIL | input_table(y_pos, next_y_pos)
config_ dropdown | Intializes and places the config file widgets Dropdown of all the config files Bind the selection of a config file from the dropdown box to a function Calls the savedata_overwrite and get_config functions | text_file_chosen (chosen text file, used this to set the index of the config dropdown box when a new config file is created) | NIL | config_dropdown(text_file_ chosen)
frequency_ dropdown_ boxes | Calls the get_correct_dataframes function and gets the correct frequency for the correct DAT file to populate the frequency dropdown box Creates the dropdown boxes for the 3 frequencies and the dropdown for the heat map toggle | NIL | NIL | frequency_dropdown_boxes()
display_ Params | Initializes widgets like Labelframe , scrollbar and listbox widget Inserts the given measurement parameters into the box Binds the backspace button to the box event allowing users to delete parameters if needed | Parameters_list ( List of parameter names) value_list(List of values of the parameters) | NIL | display_Params()

## Slide 25: MTF GUI
Code Structure & Flow ( Functions inside frequency_dropdown_boxes() )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ dataframes | Get the correct DAT data for the corresponding DAT file Get the CSV file saved with the DAT data needed and load the data needed into a dataframe | filepath (DAT filepath) | new_final_df_final_df (DAT dataframe) rc_list(List of Rc numbers) new_final_df_ffl_df (Dataframe of FFL) new_final_df_camPosDf (Dataframe of camera position , rc numbers) new_final_df_main_header (Dataframe of header names) freq_list (List of frequency numbers for the frequency dropdown) | get_correct_dataframes(filepath)
select_ frequency_ dropdown | Linked to button click selection of a frequency number Save a csv file based on the frequency number and the data Opens a new wafer map window after selection | event (button click event) dropdown_number (dropdown widget ) | NIL | select_frequency_dropdown (event,dropdown_number)
toggle_heat_map | Makes a new wafer map window but with a heat map ( Based on the pass fail lists) Checks if user has at least selected 3 frequencies , if not warn the user | event (button click event) | NIL | toggle_heat_map(event)

## Slide 26: MTF GUI
Code Structure & Flow ( Functions inside config_dropdown() )
Functions inside savedata_overwrite()
Functions name | Description | Arguments | Variables Returned | Example
get_config | Get the config selected from the user or make a new config file Calls the get_filename_popup , check_input and load_in_selected_config_file functions | event (button click selection of config file) config_file_dropdown given_rc_num | NIL | get_config(event, config_file_dropdown)
savedata_ overwrite | Calls check input function and gets the selected file from the config dropdown Overwrites the config of the selected file from the config dropdown | cwd (current working directory) sag_tan_tfc (list of values from S1 to T9 and TFC) | NIL | savedata_overwrite(cwd, sag_tan_tfc)
Functions name | Description | Arguments | Variables Returned | Example
load_in_ selected_ config_file | Load in the selected configuration file Assign correct wafer window to the correct configuration Calls the get_all_measurement_parameters_and_values , get_rc_parameters_and_values , display_Params and display_RC_Params functions | given_rc_num chosen_config (chosen config filename) Save_file_name (Full path of the config file) | NIL | load_in_selected_config_file (given_rc_num,chosen_config, Save_file_name)

## Slide 27: MTF GUI
Script Plan ( Continuation from Main window )  B
B
load_in_selected_config_file()
Loads in the Config that user selected
get_filename_popup()
Window popup for creating a new config file
display_Params()
Initialize & Display Measured Parameters ( Created Listbox with Measurement info )
get_all_measurement_parameters_and_values()
Gets measurement parameters & values
dat_delete_items()
Allows users to delete items from measurement parameters listbox
Check_input()
Check input for valid values for S1 To TFC
get_all_measurement_parameters_and_ values()
Gets measurement parameters & values
get_rc_parameters_and_values()
Gets the lens parameters and values
config_dropdown()
Creates the dropdown box for config files
User decisions
Functions run automatically

## Slide 28: MTF GUI
Code Structure & Flow ( Functions inside get_config () )
Functions name | Description | Arguments | Variables Returned | Example
check_input | Loops through all the inputs for the users to check if the inputs are valid If inputs are correct save to a list of inputs | sag_tan_tfc (list of values from S1 to T9 and TFC) | Inptvals(MTF Limits) | check_input(sag_tan_tfc)
get_filename _popup | Opens up a pop up that allows users to key in a desired config filename Creates a new config file Closes the window once config file is created | save_file_name (Name of the save file entrybox) config_popup (Name of the popup window) given_rc_num | NIL | get_filename_popup (save_file_name,config_popup, given_rc_num)
load_in_ selected_ config_file | Load in the selected configuration file Assign correct wafer window to the correct configuration Calls the get_all_measurement_parameters_and_values , get_rc_parameters_and_values , display_Params and display_RC_Params functions | given_rc_num chosen_config (chosen config filename) Save_file_name (Full path of the config file) | NIL | load_in_selected_config_file (given_rc_num,chosen_config, Save_file_name)

## Slide 29: MTF GUI
Code Structure & Flow ( Functions inside load_in_selected_config_file () )
)
Functions name | Description | Arguments | Variables Returned | Example
get_all_ measurement_parameters_and_values | Gets the measurement parameters | NIL | measurement_param_list (List of parameters) measurement_value_list (List of values for each measurement parameter) | get_all_measurement_ parameters_and_values()
display_ Params | Initializes widgets like Labelframe , scrollbar and listbox widget Inserts the given measurement parameters into the box Binds the backspace button to the box event allowing users to delete parameters if needed | Parameters_list (List of parameter names of the measurement parameters) value_list (List of values of the measurement parameters) | NIL | display_Params (Parameters_list,value_list)
Functions name | Description | Arguments | Variables Returned | Example
dat_delete_ items | Function binded to the backspace function in the measurement parameters listbox Allows users to delete items in the listbox Saves the deleted items in a list | event (backspace event) Listbox (the measurement parameters listbox) | NIL | dat_delete_items(event,listbox)
Functions inside dat_delete_items()

## Slide 30: MTF GUI
Code Structure & Flow ( Functions inside get_filename_popup () )
Functions name | Description | Arguments | Variables Returned | Example
get_rc_ parameters_ and_values | Gets the lens parameters and lens values based on the rc number given | given_rc_num | rc_parameters rc_values | get_rc_parameters_and_values(given_rc_num)
get_all_ measurement_parameters_and_values | Gets the measurement parameters | NIL | measurement_param_list (List of parameters) measurement_value_list (List of values for each measurement parameter) | get_all_measurement_ parameters_and_values()
config_ dropdown | Intializes and places the config file widgets Dropdown of all the config files Bind the selection of a config file from the dropdown box to a function Calls the savedata_overwrite and get_config functions | text_file_chosen (chosen text file, used this to set the index of the config dropdown box when a new config file is created) | NIL | config_dropdown(text_file_ chosen)

## Slide 31: MTF GUI
Script Plan ( Wafer Window )  C
C
new_window()
Creates a new Wafer map window
main_wafermap()
Triggers the creation of the main wafermap
get_correct_dataframes()
Getting correct DAT Data
wafer_button_sizes()
Check number of lenses & sets wafer button size
wafer_map_legend()
Makes a legend around the wafer map
wafer_map_creation()
Creates the wafer map from RC numbers
D
User decisions
Functions run automatically

## Slide 32: MTF GUI
Code Structure & Flow
)
Functions name | Description | Arguments | Variables Returned | Example
new_window | Creates new windows Add a new scrollbar for the new window Call the main_wafermap function to create the wafer map | NIL | NIL | new_window()
Functions inside new_window ()
Functions name | Description | Arguments | Variables Returned | Example
main_ wafermap | Intialize widgets like the frame , scrollbar , tooltip and wafer map buttons Calls the wafer_map_legend and wafer_map_creation functions | window (the windows created from the new_window function) frame (Used to place the widgets on) canvas ( Used to allow the scrollbar to scroll ) window_scrollbar (scrollbar for the window) | NIL | main_wafermap(window , frame ,canvas,window_scrollbar)

## Slide 33: MTF GUI
Code Structure & Flow ( Functions inside main_wafermap () )
)
Functions name | Description | Arguments | Variables Returned | Example
wafer_map_ legend | Creates the legend for the wafer map | col_max (max column number for all rc ) col_min (minimum column number for all rc ) row_min (minimum row number for all rc ) row_max (max row number for all rc ) wafer_frame (Frame where wafer map & wafer map legend is placed ) pixelVirtual (Used to make the units of the height and width of the buttons in pixels) wafer_map_button_width wafer_map_button_height | NIL | wafer_map_legend(col_max,col_min,row_min,row_max,wafer_frame,pixelVirtual, wafer_map_button_width, wafer_map_button_height)
wafer_map_ creation | Creates the wafer map based on the RC number Creates wafer map with different colors Calls the getcol function and getgraph function as a button function that triggers based on users click | given_list_of_users_selected_params (List of values of the whole DAT file based on the parameter user has selected for color , Eg: FFL) wafer_frame(Frame where wafer map & wafer map legend is placed ) pixelVirtual(Used to make the units of the height and width of the buttons in pixels) tooltip_1 (tooltip that shows the rc number) wafer_map_button_width wafer_map_button_height window (the windows created from the new_window function) frame (Used to place the widgets on) canvas ( Used to allow the scrollbar to scroll ) window_scrollbar (scrollbar for the window) given_upper_limit_entered (Upper limit for the color percentiles) given_lower_limit_entered (Lower limit for the color percentiles) col_max (max column number for all rc ) col_min (minimum column number for all rc ) row_min (minimum row number for all rc ) row_max (max row number for all rc ) | NIL | wafer_map_creation(given_list_ of_users_selected_params,wafer_frame,pixelVirtual,tooltip_1, wafer_map_button_width, wafer_map_button_height, window , frame ,canvas,window_scrollbar,given_upper_limit_entered,given_lower_limit_entered, col_max,col_min,row_min,row_max)

## Slide 34: MTF GUI
Code Structure & Flow ( Functions inside main_wafermap () )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ dataframes | Get the correct DAT data for the corresponding DAT file Get the CSV file saved with the DAT data needed and load the data needed into a dataframe | filepath (DAT filepath) | new_final_df_final_df (DAT dataframe) rc_list(List of Rc numbers) new_final_df_ffl_df (Dataframe of FFL) new_final_df_camPosDf (Dataframe of camera position , rc numbers) new_final_df_main_header (Dataframe of header names) freq_list (List of frequency numbers for the frequency dropdown) | get_correct_dataframes(filepath)
wafer_button _sizes | Gets the size of the Wafer Map buttons based on the number of rows and columns | col_max_parsed (the max number of columns in the wafer) | wafer_map_button_width wafer_map_button_height | wafer_button_sizes (col_max_parsed)

## Slide 35: MTF GUI
Script Plan ( Continuation from Wafer Window )  D
get_correct_dataframes()
Getting correct DAT Data
D
getgraph()
Gets graph according to the RC number
getcol()
Gets color for wafer map by Parameter
E
finding_range()
Finds upper and lower limits of values
get_list_of_tfcs()
Returns a list of Pass or fail for each RC
mtf_limits_same_window()
Returns a list of Pass or fail for each RC
find_heat_map_vals()
Get Pass/Fail values from all previous Wafer maps
get_correct_csv_dataframes()
Getting correct CSV Data
get_correct_dataframes()
Getting correct DAT Data
get_heat_map_colors()
Displays the colors according to Pass / Fail (Red to green)
get_correct_csv_dataframes()
Getting correct CSV Data
Check_input()
Check input for valid values for S1 To TFC
User decisions
Functions run automatically

## Slide 36: MTF GUI
Code Structure & Flow ( Functions inside wafer_map_creation() )
Functions name | Description | Arguments | Variables Returned | Example
getcol | Gets a specific color based on the lower , upper limits and the given list of numbers | ffl (each number in the list of all numbers in the user selected parameter for color) given_lower_percentile (lower limit for the color) given_upper_percentile (upper limit for the color) given_ffl_list (list of all the numbers in the user selected parameter for color) | color (returns a color ) | wafer_map_legend(col_max,col_min,row_min,row_max, wafer_frame,pixelVirtual,wafer_map_ button_width, wafer_map_button_height)
getgraph | Gets the graph based on the rc number that user has selected Calls the config_dropdown, get_rc_parameters_and_values , display_RC_Params, wafer_param_dropdown_selection_widgets, loading_config_wafer_map_window, get_csv_data, display_graph1, empty_graph functions Calls get_parameter from the dat_.py file and main from the spline_analytics.py file | rc_select ( name of the selected button , which we can then use to find the selected rc number as the button name is already a named a specific rc) window (the windows created from the new_window function) frame (Used to place the widgets on) canvas ( Used to allow the scrollbar to scroll ) upper_percentile (Upper limit for the color percentiles) lower_percentile (Lower limit for the color percentiles) window_scrollbar (scrollbar for the window) wafer_frame(Frame where wafer map & wafer map legend is placed ) pixelVirtual(Used to make the units of the height and width of the buttons in pixels) tooltip_1 (tooltip that shows the rc number) wafer_map_button_width wafer_map_button_height | NIL | getgraph(rc_select,window, frame,canvas,upper_percentile, lower_percentile, window_scrollbar,wafer_frame, pixelVirtual,tooltip_1,wafer_map_button_width, wafer_map_button_height)

## Slide 37: MTF GUI
Code Structure & Flow ( Functions inside wafer_map_creation() )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ dataframes | Get the correct DAT data for the corresponding DAT file Get the CSV file saved with the DAT data needed and load the data needed into a dataframe | filepath (DAT filepath) | new_final_df_final_df (DAT dataframe) rc_list(List of Rc numbers) new_final_df_ffl_df (Dataframe of FFL) new_final_df_camPosDf (Dataframe of camera position , rc numbers) new_final_df_main_header (Dataframe of header names) freq_list (List of frequency numbers for the frequency dropdown) | get_correct_dataframes(filepath)
get_list_of_ tfcs | Calls the get_lens_pass_fail and passFailV2 functions from the py file and the get_csv_data function. Gets a list of lists which contain the rc number and whether a lens passes or fails based on the TFC After getting the pass fail list , need to only get the latest scan of all of the RCs Check for missing Rcs in the pass fail list as the missing values are the lens that have failed | tfc_val (Tfc value) Correct_mtf_limits Correct_window_name (get the correct window to get the tfc on) | tfc_without_ duplicates (returns a list of lists with pass/fail results for each RC while taking the latest RC number when there are duplicate RCs) | get_list_of_tfcs (tfc_val,correct_mtf_limits, correct_window_name)

## Slide 38: MTF GUI
Code Structure & Flow ( Functions inside wafer_map_creation() )
Functions name | Description | Arguments | Variables Returned | Example
mtf_limits_ same_window | Gets the correct MTF limits for the correct data based on the s1 to t9 list | get_root_window_name (get the name of the selected wafer map window) | TFC MTF_Lim_s1_t9 (MTF Limits) | mtf_limits_same_window (get_root_window_name)
find_heat_ map_vals | Gets the Pass / Fail list of the previous 3 wafer maps Calls heatMapVals function from py file & get_heat_map_colors function | NIL | color_for_each_rc | find_heat_map_vals()
Functions name | Description | Arguments | Variables Returned | Example
get_heat_map_colors | Get the heat map colors by the number of Pass / Fail per lens in previous 3 Pass / Fail maps | entire_list (gives a value for each rc between 0 and 1 that is the number of times the lens passed or failed divided by 3 ) | NIL | get_heat_map_colors (entire_list)
Functions inside find_heat_map_vals ()

## Slide 39: MTF GUI
Code Structure & Flow ( Functions inside getcol () )
Functions name | Description | Arguments | Variables Returned | Example
finding_range | Finding the range of the numbers given from the entire list of numbers in the user selected parameter for color Finding the upper and lower percentile from the whole list of numbers based on inputs from the user | ffl_list (list of all the numbers in the user selected parameter for color) given_lower_percentile (lower limit for the color) given_upper_percentile (upper limit for the color) | range_ffl (range of the numbers from 10 – 90 percentile percentile_2 (value of the upper percentile) percentile_1 (value of the lower percentile ) | finding_range(ffl_list, given_lower_percentile, given_upper_percentile)

## Slide 40: MTF GUI
Code Structure & Flow ( Functions inside get_list_of_tfcs() )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ dataframes | Get the correct DAT data for the corresponding DAT file Get the CSV file saved with the DAT data needed and load the data needed into a dataframe | filepath (DAT filepath) | new_final_df_final_df (Final DAT dataframe) rc_list(List of Rc numbers) new_final_df_ffl_df (Dataframe of FFL) new_final_df_camPosDf (Dataframe of camera position , rc numbers) new_final_df_main_header (Dataframe of header names) freq_list (List of frequency numbers for the frequency dropdown) | get_correct_dataframes(filepath)
get_correct_ csv_ dataframes | Get the correct csv dataframes Get the saved csv files with the correct csv data needed and load the csv data into dataframes , then convert into a list if needed | toplevel_specific_filepath (Get correct DAT filepath for the correct wafer map window) given_window_number (wafer window number) | final_csv_df ( Final csv dataframe) PMO (List of Pitch , Max Frequency , Optimise Frequency AF) s1_t9_list (List of S1 to T9 Values) list_of_steps (List of steps : step 1, step 2 , step 3…) | get_correct_csv_dataframes (toplevel_specific_filepath, given_window_number)

## Slide 41: MTF GUI
Code Structure & Flow ( Functions inside mtf_limits_same_window () )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ csv_ dataframes | Get the correct csv dataframes Get the saved csv files with the correct csv data needed and load the csv data into dataframes , then convert into a list if needed | toplevel_specific_filepath (Get correct DAT filepath for the correct wafer map window) given_window_number (wafer window number) | final_csv_df ( Final csv dataframe) PMO (List of Pitch , Max Frequency , Optimise Frequency AF) s1_t9_list (List of S1 to T9 Values) list_of_steps (List of steps : step 1, step 2 , step 3…) | get_correct_csv_dataframes (toplevel_specific_filepath, given_window_number)
check_input | Loops through all the inputs for the users to check if the inputs are valid If inputs are correct save to a list of inputs | sag_tan_tfc (list of values from S1 to T9 and TFC) | Inptvals(MTF Limits) | check_input(sag_tan_tfc)

## Slide 42: MTF GUI
Script Plan (Continuation from Wafer Window )  E
E
mtf_limits_same_window()
Gets the MTF limits
display_RC_Params()
Init. widgets for the Lens parameters labelframe
get_correct_csv_dataframes()
Getting correct CSV Data
get_correct_csv_dataframes()
Getting correct CSV Data
Check_input()
Check input for valid values for S1 To TFC
get_rc_parameters_and_values()
Gets the lens parameters and values
get_correct_csv_dataframes()
Getting correct CSV Data
get_correct_dataframes()
Getting correct DAT Data
delete_items()
Allows users to delete items from Lens parameters listbox
export_to_csv()
Exports the Pass / Fail Wafer map to csv
get_correct_dataframes()
Getting correct DAT Data
mtf_limits_same_window()
Gets the MTF limits
get_list_of_tfcs()
Returns a list of Pass or fail for each RC
User decisions
Functions run automatically

## Slide 43: MTF GUI
Script Plan (Continuation from Wafer Window )  E
E
display_graph1()
Displays Graph for RC number
wafer_param_dropdown_selection_widgets
Init. widgets for Wafer Parameters labelframe
empty_graph()
Creates an empty graph if no valid csv data
loading_config_wafer_map_window()
Display lens parameters from chosen config
get_correct_dataframes()
Getting correct DAT Data
F
create_empty_graph()
Display empty graph
Mainplot1()
Make cubic spline graph
creategraph1()
Forms the MTF Graph
plot_tfc_line()
Adds TFC lines onto the MTF graph
User decisions
Functions run automatically

## Slide 44: MTF GUI
Code Structure & Flow ( Functions inside getgraph () )
Functions name | Description | Arguments | Variables Returned | Example
wafer_param_dropdown_ selection_ widgets | Creates and places the widgets inside the wafer parameters labelframe Calls the wafer_map_combobox, wafer_map_param_select function on the selection of a parameter in combobox in the wafer_map_combobox function and wafer_upper_lower_percentile functions | window (the windows created from the new_window function) frame (Used to place the widgets on) canvas ( Used to allow the scrollbar to scroll ) given_upper_percentile (upper limit for the color) given_lower_percentile (lower limit for the color) window_scrollbar (scrollbar for the window) wafer_frame(Frame where wafer map & wafer map legend is placed ) pixelVirtual(Used to make the units of the height and width of the buttons in pixels) tooltip_1 (tooltip that shows the rc number) wafer_map_button_width wafer_map_button_height given_selected_wafer_parameter (selected wafer parameter for color) col_max (max column number for all rc ) col_min (minimum column number for all rc ) row_min (minimum row number for all rc ) row_max (max row number for all rc ) | NIL | wafer_param_dropdown_selection_widgets(window,frame,canvas,given_upper_percentile,given_lower_percentile,window_scrollbar,wafer_frame,pixelVirtual,tooltip_1,wafer_map_button_width,wafer_map_button_height,given_selected_wafer_parameter, col_max,col_min,row_min,row_max)
loading_ config_wafer_map_window | Loads in the correct config for the lens parameters only in the wafer map | rc_parameters (the list of rc parameters for the corresponding rc number chosen) rc_values (the list of rc values for the corresponding rc number chosen) canvas (the canvas where the display_RC_Params listbox is placed in ) given_chosen_config ( config file name for the correct wafer map window in case more than 1 is open , to be able to have the user load in the correct config | NIL | loading_config_wafer_map_ window(rc_parameters,rc_values,canvas,given_chosen_config)

## Slide 45: MTF GUI
Code Structure & Flow ( Functions inside getgraph () )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ csv_ dataframes | Get the correct csv dataframes Get the saved csv files with the correct csv data needed and load the csv data into dataframes , then convert into a list if needed | toplevel_specific_filepath (Get correct DAT filepath for the correct wafer map window) given_window_number (wafer window number) | final_csv_df ( Final csv dataframe) PMO (List of Pitch , Max Frequency , Optimise Frequency AF) s1_t9_list (List of S1 to T9 Values) list_of_steps (List of steps : step 1, step 2 , step 3…) | get_correct_csv_dataframes (toplevel_specific_filepath, given_window_number)
display_graph1 | Displays the graph Calls the mainplot1 and the creategraph1 functions | final_csv_df (dataframe from the csv that just contains data of those RC numbers) ffl_number (individual ffl number from the rc number, to plot the ffl line ) frame (where the graph will be placed ) r_value (the row value , used to put in the label of the graph) c_value (the column value , used to put in the label of the graph) given_tfc_list ( the list of TFCs to plot the TFC lines) | NIL | display_graph1(final_csv_df,ffl_number,frame,r_value,c_value, given_tfc_list)
empty_graph | Calls function that creates an empty graph in case there are is no valid csv data for the specific RC number Calls the create_empty_graph function | frame (where the graph will be placed ) r_value (the row value , used to put in the label of the graph) c_value (the column value , used to put in the label of the graph) |  | empty_graph(frame,r_value, c_value)

## Slide 46: MTF GUI
Code Structure & Flow ( Functions inside getgraph () )
Functions name | Description | Arguments | Variables Returned | Example
display_RC_ Params | Initializes widgets like Labelframe , scrollbar and listbox widget Inserts the given measurement parameters into the box Binds the backspace button to the box event allowing users to delete parameters if needed | Parameters_list (List of parameter names of the lens parameters) value_list (List of values of the lens parameters) given_canvas (Canvas to place the widgets in) | NIL | config_dropdown( Parameters_list,value_list, given_canvas)
get_rc_ parameters_ and_values | Gets the lens parameters and lens values based on the rc number given | given_rc_num | rc_parameters rc_values | get_rc_parameters_and_values(given_rc_num)
mtf_limits_ same_window | Gets the correct MTF limits for the correct data based on the s1 to t9 list | get_root_window_name (get the name of the selected wafer map window) | TFC MTF_Lim_s1_t9 (MTF Limits) | mtf_limits_same_window (get_root_window_name)
get_correct_ dataframes | Get the correct DAT data for the corresponding DAT file Get the CSV file saved with the DAT data needed and load the data needed into a dataframe | filepath (DAT filepath) | new_final_df_final_df (Final DAT dataframe) rc_list(List of Rc numbers) new_final_df_ffl_df (Dataframe of FFL) new_final_df_camPosDf (Dataframe of camera position , rc numbers) new_final_df_main_header (Dataframe of header names) freq_list (List of frequency numbers for the frequency dropdown) | get_correct_dataframes(filepath)

## Slide 47: MTF GUI
Code Structure & Flow ( Functions inside display_RC_Params () )
Functions name | Description | Arguments | Variables Returned | Example
delete_items | Function binded to the backspace function in the Lens parameters listbox Allows users to delete items in the listbox Saves the deleted items in a list | event (backspace event) Listbox (the lens parameters listbox) Canvas (takes in the canvas where the lens listbox is placed to be able to display an error message on the correct window) | NIL | delete_items(event,rc_listbox, canvas)
export_to_csv | Exports the Pass / Fail map on the current window into a csv file and displaying 1s and 0s | given_canvas (takes in the canvas where the lens listbox to place the button on the canvas) | NIL | export_to_csv(given_canvas)

## Slide 48: MTF GUI
Code Structure & Flow ( Functions inside export_to_csv () )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ dataframes | Get the correct DAT data for the corresponding DAT file Get the CSV file saved with the DAT data needed and load the data needed into a dataframe | filepath (DAT filepath) | new_final_df_final_df (Final DAT dataframe) rc_list(List of Rc numbers) new_final_df_ffl_df (Dataframe of FFL) new_final_df_camPosDf (Dataframe of camera position , rc numbers) new_final_df_main_header (Dataframe of header names) freq_list (List of frequency numbers for the frequency dropdown) | get_correct_dataframes(filepath)
mtf_limits_ same_window | Gets the correct MTF limits for the correct data based on the s1 to t9 list | get_root_window_name (get the name of the selected wafer map window) | TFC MTF_Lim_s1_t9 (MTF Limits) | mtf_limits_same_window (get_root_window_name)
get_list_of_ tfcs | Calls the get_lens_pass_fail and passFailV2 functions from the py file and the get_csv_data function. Gets a list of lists which contain the rc number and whether a lens passes or fails based on the TFC After getting the pass fail list , need to only get the latest scan of all of the RCs Check for missing Rcs in the pass fail list as the missing values are the lens that have failed | tfc_val (Tfc value) Correct_mtf_limits Correct_window_name (get the correct window to get the tfc on) | tfc_without_ duplicates (returns a list of lists with pass/fail results for each RC while taking the latest RC number when there are duplicate RCs) | get_list_of_tfcs (tfc_val,correct_mtf_limits, correct_window_name)

## Slide 49: MTF GUI
Code Structure & Flow ( Functions inside get_rc_parameters_and_values () )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ csv_ dataframes | Get the correct csv dataframes Get the saved csv files with the correct csv data needed and load the csv data into dataframes , then convert into a list if needed | toplevel_specific_filepath (Get correct DAT filepath for the correct wafer map window) given_window_number (wafer window number) | final_csv_df ( Final csv dataframe) PMO (List of Pitch , Max Frequency , Optimise Frequency AF) s1_t9_list (List of S1 to T9 Values) list_of_steps (List of steps : step 1, step 2 , step 3…) | get_correct_csv_dataframes (toplevel_specific_filepath, given_window_number)
get_correct_ dataframes | Get the correct DAT data for the corresponding DAT file Get the CSV file saved with the DAT data needed and load the data needed into a dataframe | filepath (DAT filepath) | new_final_df_final_df (Final DAT dataframe) rc_list(List of Rc numbers) new_final_df_ffl_df (Dataframe of FFL) new_final_df_camPosDf (Dataframe of camera position , rc numbers) new_final_df_main_header (Dataframe of header names) freq_list (List of frequency numbers for the frequency dropdown) | get_correct_dataframes(filepath)

## Slide 50: MTF GUI
Code Structure & Flow ( Functions inside mtf_limits_same_window() )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ csv_ dataframes | Get the correct csv dataframes Get the saved csv files with the correct csv data needed and load the csv data into dataframes , then convert into a list if needed | toplevel_specific_filepath (Get correct DAT filepath for the correct wafer map window) given_window_number (wafer window number) | final_csv_df ( Final csv dataframe) PMO (List of Pitch , Max Frequency , Optimise Frequency AF) s1_t9_list (List of S1 to T9 Values) list_of_steps (List of steps : step 1, step 2 , step 3…) | get_correct_csv_dataframes (toplevel_specific_filepath, given_window_number)
check_input | Loops through all the inputs for the users to check if the inputs are valid If inputs are correct save to a list of inputs | sag_tan_tfc (list of values from S1 to T9 and TFC) | Inptvals(MTF Limits) | check_input(sag_tan_tfc)

## Slide 51: MTF GUI
Code Structure & Flow ( Functions inside display_graph1 () )
Functions name | Description | Arguments | Variables Returned | Example
mainplot1 | Gets each line of the cubic spline graph and assigns a specific color according to the label | given_x (given x coordinate) given_y (given y coordinate) labels ( S1 to T9 Labels) | trace (cubic spline line) | mainplot1(given_x,given_y,labels)
creategraph1 | Creates the cubic spline graph Plots the ffl number line Calls the plot_tfc_line function | trace_lists ( A list of 17 traces for S1 to T9 in the cubic spline graph ) ffl_number (individual ffl number from the rc number, to plot the ffl line ) frame (where the graph will be placed ) r_value (the row value , used to put in the label of the graph) c_value (the column value , used to put in the label of the graph) given_tfc_list ( the list of TFCs to plot the TFC lines) | fig (cubic spline graph) | creategraph1(trace_lists, ffl_number,frame,r_value,c_value,given_tfc_list)

## Slide 52: MTF GUI
Code Structure & Flow ( Functions inside creategraph1 () )
Functions name | Description | Arguments | Variables Returned | Example
plot_tfc_line | Function to plot TFC line onto the graph | given_list (list of traces to use to plot the cubic spline graph , in this case the list is empty ) frame (where the graph will be placed ) r_value (the row value , used to put in the label of the graph) c_value (the column value , used to put in the label of the graph) | range_ffl (range of the numbers from 10 – 90 percentile percentile_2 (value of the upper percentile) percentile_1 (value of the lower percentile ) | create_empty_graph(given_list, frame,r_value,c_value)

## Slide 53: MTF GUI
Code Structure & Flow ( Functions inside empty_graph () )
Functions name | Description | Arguments | Variables Returned | Example
create_empty_graph | Creates an empty graph which only displays that the through focus data is not available | given_list (list of traces to use to plot the cubic spline graph , in this case the list is empty ) frame (where the graph will be placed ) r_value (the row value , used to put in the label of the graph) c_value (the column value , used to put in the label of the graph) | range_ffl (range of the numbers from 10 – 90 percentile percentile_2 (value of the upper percentile) percentile_1 (value of the lower percentile ) | create_empty_graph(given_list, frame,r_value,c_value)

## Slide 54: MTF GUI
Script Plan (Continuation from Wafer Window )  F
F
wafer_map_combobox()
Init. wafer map parameters dropdown box
wafer_upper_lower_percentile()
Init. upper,lower percentile and Update map button
confirm_upper_lower_limit_button_function()
Updates wafer map (Contoured , Pass / Fail)
pass_fail_toggle_combobox()
Toggle for the Pass Fail Map
G
User decisions
Functions run automatically
get_wafer_map_parameters()
Gets list of available wafer map parameters
get_correct_csv_dataframes()
Getting correct CSV Data

## Slide 55: MTF GUI
Code Structure & Flow ( Functions inside wafer_param_dropdown_selection_widgets () )
Functions name | Description | Arguments | Variables Returned | Example
wafer_map_ combobox | Creates and places the combobox widget (dropdown box) | given_list (list of available wafer parameters that have only integers as their values) given_parameter_selected (selected parameter by the user to use to change the wafer map colors ) | NIL | wafer_map_combobox(given_list,given_parameter_selected)
wafer_upper_ lower_ percentile | Creates and initializes all the widgets in the Wafer Parameters labelframe Calls the confirm_upper_lower_limit_button_ function function as a function that runs on the button click of the Update Map button | wafer_param_dropdown_labelframe (Labelframe for the wafer Parameters) window (the windows created from the new_window function) frame (Used to place the widgets on) canvas ( Used to allow the scrollbar to scroll ) window_scrollbar (scrollbar for the window) given_upper_percentile (upper limit for the color) given_lower_percentile (lower limit for the color) wafer_frame(Frame where wafer map & wafer map legend is placed ) pixelVirtual(Used to make the units of the height and width of the buttons in pixels) tooltip_1 (tooltip that shows the rc number) wafer_map_button_width wafer_map_button_height col_max (max column number for all rc ) col_min (minimum column number for all rc ) row_min (minimum row number for all rc ) row_max (max row number for all rc ) | NIL | wafer_upper_lower_percentile( wafer_param_dropdown_ labelframe,window,frame,canvas,window_scrollbar, given_upper_percentile, given_lower_percentile ,wafer_frame,pixelVirtual,tooltip_1,wafer_map_button_width, wafer_map_button_height, col_max,col_min,row_min,row_max)

## Slide 56: MTF GUI
Code Structure & Flow ( Functions inside wafer_param_dropdown_selection_widgets () )
Functions name | Description | Arguments | Variables Returned | Example
pass_fail_ toggle_ combobox | Pass fail toggle dropdown box that users can toggle to toggle between the contoured wafer map and the pass fail map | wafer_param_dropdown_labelframe(Labelframe for the wafer Parameters) | NIL | pass_fail_toggle_combobox( wafer_param_dropdown_ labelframe)

## Slide 57: MTF GUI
Code Structure & Flow ( Functions inside wafer_map_combobox() )
Functions name | Description | Arguments | Variables Returned | Example
get_wafer_ map_ parameters | Finds all the wafer parameters that only contain integers for all values and appends those parameters into a list and return the list called wafer_params | NIL | wafer_params | get_wafer_map_parameters()
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ csv_ dataframes | Get the correct csv dataframes Get the saved csv files with the correct csv data needed and load the csv data into dataframes , then convert into a list if needed | toplevel_specific_filepath (Get correct DAT filepath for the correct wafer map window) given_window_number (wafer window number) | final_csv_df ( Final csv dataframe) PMO (List of Pitch , Max Frequency , Optimise Frequency AF) s1_t9_list (List of S1 to T9 Values) list_of_steps (List of steps : step 1, step 2 , step 3…) | get_correct_csv_dataframes (toplevel_specific_filepath, given_window_number)
Functions inside get_wafer_map_parameters()

## Slide 58: MTF GUI
Code Structure & Flow ( Functions inside wafer_upper_lower_percentile () )
Functions name | Description | Arguments | Variables Returned | Example
confirm_ upper_lower_ limit_button_ function | Checks if the upper and lower limit entered are valid using the confirm_upper_lower_limit_check_ function If it is correct , then we will refresh the wafer map with the colors changed according to the given limits and call the wafer_map_legend and wafer_map_creation function Check if the pass fail map toggle had been activated , if so then we will reset all the parameters back to the pass fail map | window (the windows created from the new_window function) frame (Used to place the widgets on) canvas ( Used to allow the scrollbar to scroll ) window_scrollbar (scrollbar for the window) wafer_frame(Frame where wafer map & wafer map legend is placed ) pixelVirtual(Used to make the units of the height and width of the buttons in pixels) tooltip_1 (tooltip that shows the rc number) wafer_map_button_width wafer_map_button_height given_labelframe (the wafer_param_dropdown_labelframe used to get col_max (max column number for all rc ) col_min (minimum column number for all rc ) row_min (minimum row number for all rc ) row_max (max row number for all rc ) | NIL | confirm_upper_lower_limit_ button_function(window,frame, canvas,window_scrollbar, wafer_frame,pixelVirtual,tooltip_1,wafer_map_button_width, wafer_map_button_height , given_labelframe, col_max,col_min,row_min,row_max)

## Slide 59: MTF GUI
Script Plan (Continuation from Wafer Window )  G
G
confirm_upper_lower_limit_check()
Check inputs for upper and lower limits
wafer_map_creation()
Refreshes Wafer Map with color range
get_correct_dataframes()
Getting correct DAT data
load_in_wafer_map_and_legend()
Refreshes the pass fail map
wafer_map_legend()
Makes wafer map legend
get_correct_csv_dataframes()
Getting correct CSV Data
D
get_correct_dataframes()
Getting correct DAT data
main_wafermap()
Triggers the creation of the main wafermap
wafer_param_dropdown_selection_widgets
Init. widgets for Wafer Parameters labelframe
wafer_button_sizes()
Check number of lenses & sets wafer button size
User decisions
Functions run automatically

## Slide 60: MTF GUI
Code Structure & Flow ( Functions inside confirm_upper_lower_limit_button_function() )
Functions name | Description | Arguments | Variables Returned | Example
wafer_map_ creation | Creates the wafer map based on the RC number Creates wafer map with different colors Calls the getcol function and getgraph function as a button function that triggers based on users click | given_list_of_users_selected_params (List of values of the whole DAT file based on the parameter user has selected for color , Eg: FFL) wafer_frame(Frame where wafer map & wafer map legend is placed ) pixelVirtual(Used to make the units of the height and width of the buttons in pixels) tooltip_1 (tooltip that shows the rc number) wafer_map_button_width wafer_map_button_height window (the windows created from the new_window function) frame (Used to place the widgets on) canvas ( Used to allow the scrollbar to scroll ) window_scrollbar (scrollbar for the window) given_upper_limit_entered (Upper limit for the color percentiles) given_lower_limit_entered (Lower limit for the color percentiles) col_max (max column number for all rc ) col_min (minimum column number for all rc ) row_min (minimum row number for all rc ) row_max (max row number for all rc ) | NIL | wafer_map_creation(given_list_ of_users_selected_params,wafer_frame,pixelVirtual,tooltip_1, wafer_map_button_width, wafer_map_button_height, window , frame ,canvas,window_scrollbar,given_upper_limit_entered,given_lower_limit_entered, col_max,col_min,row_min,row_max)
wafer_map_ legend | Creates the legend for the wafer map | col_max (max column number for all rc ) col_min (minimum column number for all rc ) row_min (minimum row number for all rc ) row_max (max row number for all rc ) wafer_frame (Frame where wafer map & wafer map legend is placed ) pixelVirtual (Used to make the units of the height and width of the buttons in pixels) wafer_map_button_width wafer_map_button_height | NIL | wafer_map_legend(col_max,col_min,row_min,row_max,wafer_frame,pixelVirtual, wafer_map_button_width, wafer_map_button_height)

## Slide 61: MTF GUI
Code Structure & Flow ( Functions inside confirm_upper_lower_limit_button_function() )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ dataframes | Get the correct DAT data for the corresponding DAT file Get the CSV file saved with the DAT data needed and load the data needed into a dataframe | filepath (DAT filepath) | new_final_df_final_df (Final DAT dataframe) rc_list(List of Rc numbers) new_final_df_ffl_df (Dataframe of FFL) new_final_df_camPosDf (Dataframe of camera position , rc numbers) new_final_df_main_header (Dataframe of header names) freq_list (List of frequency numbers for the frequency dropdown) | get_correct_dataframes(filepath)
load_in_ wafer_map_ and_legend | Check and make sure that the correct wafer window is changed Load in the base pass/fail wafer map and call the wafer_param_dropdown_selection_widgets and main_wafermap function | toplevel_number (wafer window number) | NIL | load_in_wafer_map_and_legend (toplevel_number)
confirm_ upper_lower_ limit_check | Checks if the upper and lower limit entered are valid | window (the window created from the new_window function) | upper_limit_ entered lower_limit_ entered | confirm_upper_lower_limit_ button_function(window,frame, canvas,window_scrollbar, wafer_frame,pixelVirtual,tooltip_1,wafer_map_button_width, wafer_map_button_height , given_labelframe))

## Slide 62: MTF GUI
Code Structure & Flow ( Functions inside confirm_upper_lower_limit_button_function() )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ csv_ dataframes | Get the correct csv dataframes Get the saved csv files with the correct csv data needed and load the csv data into dataframes , then convert into a list if needed | toplevel_specific_filepath (Get correct DAT filepath for the correct wafer map window) given_window_number (wafer window number) | final_csv_df ( Final csv dataframe) PMO (List of Pitch , Max Frequency , Optimise Frequency AF) s1_t9_list (List of S1 to T9 Values) list_of_steps (List of steps : step 1, step 2 , step 3…) | get_correct_csv_dataframes (toplevel_specific_filepath, given_window_number)

## Slide 63: MTF GUI
Code Structure & Flow ( Functions inside load_in_wafer_map_and_legend () )
Functions name | Description | Arguments | Variables Returned | Example
wafer_param_dropdown_ selection_ widgets | Creates and places the widgets inside the wafer parameters labelframe Calls the wafer_map_combobox, wafer_map_param_select function on the selection of a parameter in combobox in the wafer_map_combobox function and wafer_upper_lower_percentile functions | window (the windows created from the new_window function) frame (Used to place the widgets on) canvas ( Used to allow the scrollbar to scroll ) given_upper_percentile (upper limit for the color) given_lower_percentile (lower limit for the color) window_scrollbar (scrollbar for the window) wafer_frame(Frame where wafer map & wafer map legend is placed ) pixelVirtual(Used to make the units of the height and width of the buttons in pixels) tooltip_1 (tooltip that shows the rc number) wafer_map_button_width wafer_map_button_height given_selected_wafer_parameter (selected wafer parameter for color) col_max (max column number for all rc ) col_min (minimum column number for all rc ) row_min (minimum row number for all rc ) row_max (max row number for all rc ) | NIL | wafer_param_dropdown_selection_widgets(window,frame,canvas,given_upper_percentile,given_lower_percentile,window_scrollbar,wafer_frame,pixelVirtual,tooltip_1,wafer_map_button_width,wafer_map_button_height,given_selected_wafer_parameter, col_max,col_min,row_min,row_max)
main_ wafermap | Intialize widgets like the frame , scrollbar , tooltip and wafer map buttons Calls the wafer_map_legend and wafer_map_creation functions | window (the windows created from the new_window function) frame (Used to place the widgets on) canvas ( Used to allow the scrollbar to scroll ) window_scrollbar (scrollbar for the window) | NIL | main_wafermap(window , frame ,canvas,window_scrollbar)

## Slide 64: MTF GUI
Code Structure & Flow ( Functions inside load_in_wafer_map_and_legend () )
Functions name | Description | Arguments | Variables Returned | Example
get_correct_ dataframes | Get the correct DAT data for the corresponding DAT file Get the CSV file saved with the DAT data needed and load the data needed into a dataframe | filepath (DAT filepath) | new_final_df_final_df (Final DAT dataframe) rc_list(List of Rc numbers) new_final_df_ffl_df (Dataframe of FFL) new_final_df_camPosDf (Dataframe of camera position , rc numbers) new_final_df_main_header (Dataframe of header names) freq_list (List of frequency numbers for the frequency dropdown) | get_correct_dataframes(filepath)
wafer_button _sizes | Gets the size of the Wafer Map buttons based on the number of rows and columns | col_max_parsed (the max number of columns in the wafer) | wafer_map_button_width wafer_map_button_height | wafer_button_sizes (col_max_parsed)

## Slide 65: MTF GUI
Limitations
The speed of loading in the Wafer map is slow when there are many RC numbers
The Wafer Map may not be able to completely load in if there are too many Lenses
There is no progress bar to display progress of functions running

## Slide 66: MTF GUI
Code Versions ( Version 1 & 2 )
Version 1
Version 2
Poor Design
Lens number dropdown instead of wafer map
Graph shown on main window
Wafer Map now displayed
Slow Speed while changing between Lenses ( 3-6s )
Able to open multiple Wafer Map windows
Only optimal Frequency is displayed
No TFC displayed for MTF Curve

## Slide 67: MTF GUI
Code Versions ( Version 3 )
Version 3
Required to combine the DAT data
Speed is faster while changing between Lenses ( 3s )
Pass / Fail Wafer Map and Heat Map
Data of All Frequencies can be displayed
TFC displayed for MTF Curve

## Slide 68: MTF GUI
Difficulties
Difficulties In the making of Main window:
  Making of button , text , Listbox , labelframe and scrollbar widgets
  When to use a canvas , frame
  Understanding the ways to place widgets on the GUI
  Implementing Config files
  Finding out the focused window of the user
  Calling functions without closing and re opening the current window
Difficulties In the making of Wafer window:
  Making of the wafer map and wafer map legend
  Having multiple wafer windows open at the same time

## Slide 69: MTF GUI
Lessons Learnt
Lessons Learnt In the making of Main window:
Learned:
  Making button , text , Listbox , labelframe & scrollbar widgets
  The correct situations to use Frames and Canvas
  Ways to load in the Config files
  How to find out the focused window
  To call functions inside other functions instead of calling them in a Main function
Lessons Learnt In the making of Wafer window:
Learned:
  Making of the wafer map and wafer map legend using grid placement
  Making multiple wafer windows appear

## Slide 70: MTF GUI
Execute file name and snapshots
Contains all files needed
Download MTF_GUI_v3.py
Download MTF GUI batch file
(Ensure to edit the paths of batch file)
Download _dat_v7.py
Download SPLINE_ANALYTICS_V6.py
Download csv_all_v9.py
Download download items.ipynb file